## Air samples combined
Sample no. | [9 empty] | -- | -- | -- | -- | -- | -- | -- | --
Sample label |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | OH before drilling | OH during drilling 1 | OH during drilling 2 | OH after drilling | LIS before drilling | LIS during drilling 1 | LIS during drilling 2 | LIS after drilling
Parameter | Unit | Standard LOQ | Method | TLV-TWA Denmark | TLV-TWA Germany | TLV-TWA USA | TLV-TWA Greece | TLV-TWA Other Country | MATC | Result | Result | Result | Result | Result | Result | Result | Result
alpha-HCH | µg/m3 | 0.005 | VDI4301 | 1: 500; 2: 100; 6: 0.25 | 0.45 | 0.61 | 0.3 | 1 | < 0,005 | < 0,005 | < 0,005 | < 0,005
beta-HCH | µg/m3 | 0.005 | VDI4301 | 1: 500; 2: 500; 6: 0.25 | 0.02 | 0.007 | 0.009 | 0.01 | < 0,005 | < 0,005 | < 0,005 | < 0,005
gamma-HCH | µg/m3 | 0.005 | VDI4301 | 500 | 100 | 500 |  |  | 0.25 | 0.032 | 0.041 | 0.088 | 0.15 | < 0,005 | < 0,005 | < 0,005 | < 0,005
delta-HCH | µg/m3 | 0.005 | VDI4301 | 1: 500 | 0.022 | 0.01 | 0.038 | 0.074 | < 0,005 | < 0,005 | < 0,005 | < 0,005
Chlordane | µg/m3 | 0.01 | VDI4301 | 4: 500; 6: 0.02 | < 0,01 | < 0,01 | < 0,01 | < 0,01 | < 0,01 | < 0,01 | < 0,01 | < 0,01
o,p-DDT | µg/m3 | 0.005 | VDI4301 | 1: 1000; 2: 1000; 3: 1000 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005
p,p-DDT | µg/m3 | 0.005 | VDI4301 | [6 empty] | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005
o,p-DDD | µg/m3 | 0.005 | VDI4301 | [6 empty] | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005
p,p-DDD | µg/m3 | 0.005 | VDI4301 | [6 empty] | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005
o,p-DDE | µg/m3 | 0.005 | VDI4301 | [6 empty] | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005
p,p-DDE | µg/m3 | 0.005 | VDI4301 | [6 empty] | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005
Naphthalene | µg/m3 | 0.005 | DIN ISO 12884 | 4: 100 | < 0,005 | < 0,005 | 0.011 | 0.01 | < 0,005 | < 0,005 | 0.019 | < 0,005
Acenaphthylene | µg/m3 | 0.005 | DIN ISO 12884 | [6 empty] | 0.005 | 0.009 | 0.014 | 0.041 | < 0,005 | 0.015 | 0.037 | 0.033
Acenaphthene | µg/m3 | 0.005 | DIN ISO 12884 | [6 empty] | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005
Fluorene | µg/m3 | 0.005 | DIN ISO 12884 | [6 empty] | 0.009 | 0.01 | 0.01 | 0.025 | 0.014 | 0.018 | 0.032 | 0.041
Phenanthrene | µg/m3 | 0.005 | DIN ISO 12884 | 5: 800 (Latvia) | 0.019 | 0.016 | 0.025 | 0.058 | 0.049 | 0.035 | 0.063 | 0.11
Anthracene | µg/m3 | 0.005 | DIN ISO 12884 | [6 empty] | < 0,005 | < 0,005 | < 0,005 | 0.01 | 0.005 | 0.006 | 0.01 | 0.02
Fluoranthene | µg/m3 | 0.005 | DIN ISO 12884 | [6 empty] | 0.005 | 0.005 | 0.009 | 0.021 | 0.01 | 0.013 | 0.021 | 0.037
Pyrene | µg/m3 | 0.005 | DIN ISO 12884 | 4: 5 | < 0,005 | < 0,005 | 0.005 | 0.02 | 0.009 | 0.01 | 0.02 | 0.034
Benzo(a)anthracene | µg/m3 | 0.005 | DIN ISO 12884 | 4: 5 | < 0,005 | < 0,005 | 0.005 | 0.014 | < 0,005 | < 0,005 | 0.01 | 0.018
Chrysene | µg/m3 | 0.005 | DIN ISO 12884 | 4: 5 | < 0,005 | < 0,005 | 0.005 | 0.014 | < 0,005 | < 0,005 | 0.011 | 0.017
Benzo(b)fluoranthene+Benzo(k)fluoranthene | µg/m3 | 0.005 | DIN ISO 12884 | [6 empty] | < 0,005 | 0.005 | 0.011 | 0.034 | 0.007 | 0.009 | 0.026 | 0.044
Benzo(a)pyrene | µg/m3 | 0.005 | DIN ISO 12884 | 2: 0.7; 5: 0,55 (The Netherlands) | < 0,005 | < 0,005 | 0.005 | 0.013 | < 0,005 | < 0,005 | 0.012 | 0.016
Indeno(1,2,3-c,d)pyrene | µg/m3 | 0.005 | DIN ISO 12884 | 4: 5 | < 0,005 | < 0,005 | < 0,005 | 0.008 | < 0,005 | < 0,005 | 0.007 | 0.008
Dibenzo(a,h)anthracene | µg/m3 | 0.005 | DIN ISO 12884 | [6 empty] | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005 | < 0,005
Benzo(g,h,i)perylene | µg/m3 | 0.005 | DIN ISO 12884 | [6 empty] | < 0,005 | < 0,005 | < 0,005 | n.a.5 | < 0,005 | n.a.5 | 0.005 | n.a.5
Sum of PAH (EPA) |  |  | DIN ISO 12884 | [6 empty] | 0.038 | 0.045 | 0.1 | 0.268 | 0.094 | 0.106 | 0.273 | 0.378
dl-PCB
PCB 77 | ng/m³ | 0.0001 | VDI 2090 | 1: 10; 2: 3; 6: 500 | 0.0042 | 0.00301 | 0.0358 | 0.0172 | 0.0005 | 0.00122 | 0.00083 | 0.00181
PCB 81 | ng/m³ | 0.0001 | VDI 2090 | [6 empty] | 0.0001 | < 0,0002 | 0.0006 | 0.00034 | < 0,0001 | 7e-05 | 5e-05 | 0.0001
PCB 126 | ng/m³ | 0.0001 | VDI 2090 | [6 empty] | 0.0004 | 0.00044 | 0.00126 | 0.00073 | < 0,0001 | 0.00013 | 9e-05 | 0.00018
PCB 169 | ng/m³ | 0.0001 | VDI 2090 | [6 empty] | < 0,0001 | 3e-05 | 4e-05 | 6e-05 | < 0,0001 | 3e-05 | < 0,00002 | 3e-05
PCB 105 | ng/m³ | 0.001 | VDI 2090 | [6 empty] | < 0,003 | 0.0018 | 0.006 | 0.0043 | < 0,002 | 0.0033 | 0.0026 | 0.0033
PCB 114 | ng/m³ | 0.001 | VDI 2090 | [6 empty] | < 0,001 | < 0,0005 | < 0,0005 | 0.0006 | < 0,001 | < 0,0005 | < 0,0005 | < 0,0005
PCB 118 | ng/m³ | 0.001 | VDI 2090 | [6 empty] | < 0,008 | 0.005 | 0.0138 | 0.0208 | < 0,004 | 0.0139 | 0.0121 | 0.012
PCB 123 | ng/m³ | 0.001 | VDI 2090 | [6 empty] | < 0,001 | < 0,0005 | 0.0009 | 0.0007 | < 0,001 | < 0,0005 | < 0,0005 | < 0,0005
PCB 156 | ng/m³ | 0.001 | VDI 2090 | [6 empty] | < 0,001 | 0.0014 | 0.0013 | 0.0038 | < 0,001 | 0.004 | 0.0031 | 0.0026
PCB 157 | ng/m³ | 0.001 | VDI 2090 | [6 empty] | < 0,001 | < 0,0005 | < 0,0005 | < 0,0005 | < 0,001 | < 0,0005 | < 0,0005 | < 0,0005
PCB 167 | ng/m³ | 0.001 | VDI 2090 | [6 empty] | < 0,001 | 0.0009 | 0.0009 | 0.0022 | < 0,001 | 0.0025 | 0.0023 | 0.0019
PCB 189 | ng/m³ | 0.001 | VDI 2090 | [6 empty] | < 0,001 | < 0,0005 | < 0,0005 | < 0,0005 | < 0,001 | < 0,0005 | < 0,0005 | < 0,0005
non-dl-PCB
PCB 28 | ng/m³ | 0.01 | VDI 2090 | 1: 10; 2: 3; 6: 500 | 0.05 | 0.06 | 0.11 | 0.08 | 0.04 | 0.15 | 0.08 | 0.1
PCB 52 | ng/m³ | 0.01 | VDI 2090 | [6 empty] | 0.03 | 0.03 | 0.22 | 0.12 | < 0,02 | 0.08 | 0.05 | 0.06
PCB 101 | ng/m³ | 0.01 | VDI 2090 | [6 empty] | 0.03 | 0.02 | 0.05 | 0.07 | < 0,02 | 0.07 | 0.06 | 0.05
PCB 138 | ng/m³ | 0.01 | VDI 2090 | [6 empty] | < 0,02 | 0.01 | 0.02 | 0.07 | < 0,02 | 0.07 | 0.06 | 0.05
PCB 153 | ng/m³ | 0.01 | VDI 2090 | [6 empty] | < 0,02 | 0.02 | 0.03 | 0.09 | < 0,02 | 0.09 | 0.09 | 0.06
PCB 180 | ng/m³ | 0.01 | VDI 2090 | [6 empty] | < 0,02 | < 0,01 | 0.01 | 0.03 | < 0,02 | 0.03 | 0.03 | 0.02
MATC = Maximum Acceptable Toxic Concentration (Dutch Soil Remediation Circular 2009)
Result > MATC value
Considered high compared to values detected in industrial areas